## D5
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2021
SECTION D - ASSET INFORMATION
Table D5: Activities - Water Service
Line Ref | Description | Ofwat Reference JR 07 | WICS Reference AR 06 | Units | Field Type | Report Year 2020-21 | CG
Mains - Asset Balance
D5.1 | Total length of mains (Opening balance) | T11, L1 | - | km | I | 48743.779 | A1
D5.2 | Mains renewed | T11, L2 | C7.6 | km | I | 30.213 | B3
D5.3 | Mains relined | T11, L3 | C7.7 | km | I | 6.893 | B3
D5.4 | Mains cleaned (total) | T11, L4 | - | km | I | 1826.812 | B3
D5.5 | Distribution mains cleaned for quality | T11, L5 | - | km | I | 1814.772 | B3
D5.6 | New mains | T11, L6 | - | km | I | 106.905 | B2
D5.7 | Mains abandoned | - | - | km | I | 86.113 | B2
D5.7a | Other changes | - | - | km | I | -37.141 | B3
D5.8 | Total length of mains (closing balance) | T11, L12 | - | km | C | 48831.925 | A1
D5.9 | Lead communication pipes replaced - quality | T11, L8 | - | nr | I | 1131 | B2
D5.10 | Lead communication pipes replaced - maintenance or other | T11, L9 | - | nr | I | 0 | B2
D5.11 | Communication pipes replaced - other | T11, L10 | - | nr | I | 56 | B2
Prepared by: …………………………………………….. |  |  | Date: ……………
Checked by: …………………………………………….. |  |  | Date: ……………
Authorised by:

## D6
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2021
SECTION D - ASSET INFORMATION
Table D6: Activities - Wastewater Service
Line Ref | Description | Ofwat Ref | WICS Ref | Units | Field Type | Report Year 2020-21 | CG
Critical/Non-Critical Sewers
D6.1 | Total length of sewers - opening balance | T16, L1 | - | km | I | 52809.921 | B2
D6.3 | New sewers added during the year | T16, L3 | D6.13 | km | I | 279.933 | B2
D6.4 | Sewers inspected by CCTV or man entry during the year | T16, L4 | D6.14 | km | I | 24.24 | B3
D6.5 | Sewers - renovated | T16, L5 | C8.10 | km | I | 0.12 | B2
D6.6 | Sewers - replaced | T16, L6 | C8.11 | km | I | 0.659 | B2
D6.7 | Abandoned sewers | - | - | km | I | 15.084 | B2
D6.7a | Other changes to sewers | - | - | km | I | -393.651 | B2
D6.8 | Total length of sewer - closing balance | T16, L15 | D6.20 | km | C | 53468.421 | B2
Prepared by: …………………………………………….. |  |  | Date: ……………
Checked by: …………………………………………….. |  |  | Date: ……………
Authorised by: |  |  | Date: